Fluorescent PL 3D fluorescent EEM Send a sample

| Order number |  |
| --- | --- |
| Organization / Contact | Unit: ________________ Contact Name: ________ Phone: ________________ |
| Sample Quantity and IDs |  |
| Sample Name and Composition |  |
| Sample Condition | □ Solvent □ Powder □ Thin film □ Blocks □ Other: ________ |
| Test Item | □ Launch spectrum □ Stimulation spectrum □PL □EEM □ Fluorescent lifetime □ Quantum Production Rate |
| Wavelength parameters | Stimulate wavelength: ________ Range of launch: ________ Expulsion range: ________ |
| Concentration/empty | Concentration: ________ Space: ________ □ Gradient required / Scattered experiments |
| Sample stability | □ Hide from the light □ Lightly bleaching □ Oxidability □ We need deoxygen □ Other: ________ |
| Sample Safety | □ No poison □ Poison □ Corrosiveness □ Flammable □ Volatile □ Other: ________ |
| Is there an instrument type requirement? | □ Yes, Instrument Type: ________________ □ No |
| Return Remaining Samples? | □ Yes □ No ※ Light, Dilution, The samples may not recover after deoxygentization or adhesion |

Note:

1. Solvents should be clarified, no visible dispersible particles provided and solvent gaps provided; The strong absorption sample proposal reduces the internal filtering effect by provoking a wavelength of less than 0.1 per cent.

2. Please specify the range of stimulation/launch, narrowness, need for correction and quantum ratio reference.

3. Maintenance and measurement conditions should be indicated for lightable bleaching, oxygen sensitive or temperature sensitive samples; Avoidance, deoxygent or cryogenic tests, if necessary.

4. The powder and the film PL Intensity assembly mode, Surface roughness and measurement of geometric effects, Conditions for comparison of samples should be consistent.