CHNS ONH and carbon sulfur analysis sample sheets

| Order number |  |
| --- | --- |
| Organization / Contact | Unit: ________________ Contact Name: ________ Phone: ________________ |
| Sample Quantity and IDs |  |
| Sample Name and Composition |  |
| Sample Condition | □ Powder □ Particle □ Scratch □ Liquid ( Confirmed ) □ Other: ________ |
| Test Item | □CHNS □ Oxygen ONH □ Carbon sulfur CS □ Modular □ Multi-Element |
| Projected content | C: ____% H: ____% N: ____% S: ____% O: ____% Other: ____ |
| Sample evenness | □ even □ Multi-Synthetic / Composite □ Wet easily □ Oxidability □ Other: ________ |
| Pre-treatment | □ No, I don't □ Dry □ Grinding □ Remove Solvent □ Other: ________ |
| Sample Safety | □ No poison □ Poison □ Corrosiveness □ Flammable □ Volatile □ Other: ________ |
| Is there an instrument type requirement? | □ Yes, Instrument Type: ________________ □ No |
| Return Remaining Samples? | □ Yes □ No ※ Burning / Melting analysis is destructive |

Note:

1. Samples should be even, dry and refined; Multiple phase samples need to be sufficiently mixed, with results representing the sampling component.

2. Please provide the expected element content and possible halogens, metals, silicon, phosphorus, etc., for the selection of combustion conditions and calibration ranges.

3. Wet-prone, oxidized and volatile samples shall be sealed and shown to be dry; Unknown explosive or powerful oxidizing samples are not received.