BET gas adsorption with hole structure sample

| Order number |  |
| --- | --- |
| Organization / Contact | Unit: ________________ Contact Name: ________ Phone: ________________ |
| Sample Quantity and IDs |  |
| Sample Name and Composition |  |
| Sample Condition | □ Powder □ Particle □ Pyramids □ Membrane cut □ Other: ________ |
| Test Item | □BET Area over surface □ Hole / Angle □BJH □DFT □CO₂ Micro-holes |
| Gas adsorption | □N₂ □CO₂ □Ar □Kr □ It's a laboratory choice |
| Easier condition. | Temperature: ________℃ Time: ________h □ Unknown / Needs assessment |
| Sample stability | Top Temperature: ________℃ □ Easy to decompose □ Oxidability □ Wet easily |
| Sample Safety | □ No poison □ Poison □ Corrosiveness □ Flammable □ Volatile □ Other: ________ |
| Is there an instrument type requirement? | □ Yes, Instrument Type: ________________ □ No |
| Return Remaining Samples? | □ Yes □ No ※ Espiration and prolonged vacuum processing may change the state of the sample |

Note:

1. Samples should be dry and of sufficient quality; High-to-surface material usually requires approximately 0.3-0.5 g and low-to-surface material may require 0.5-1 g or more.

2. Erosion temperature shall be below the decomposition, phase or sinter temperature; It is recommended that de-gas temperature and time be determined in conjunction with TGA or literature.

3. Samples shall be resistant to vacuum and heating and shall not release corrosive, flammable or volatile gases in large quantities.

4. Low-scale surface samples may be required Kr Consort; Micro-pore materials may be considered CO₂ or Ar Consort, The target aperture range needs to be specified in advance.