TPD TPR TPO program temperature chemical adsorption sample list

| Order number |  |
| --- | --- |
| Organization / Contact | Unit: ________________ Contact Name: ________ Phone: ________________ |
| Sample Quantity and IDs |  |
| Sample Name and Composition |  |
| Sample Condition | □ Powder catalyst □ Particle □ Loading material □ Other: ________ |
| Test Item | □NH₃-TPD □CO₂-TPD □H₂-TPR □O₂-TPO □ Pulse chemical adsorption |
| Sample composition/load | Main constituents: ________________ Active group / Load: ________________ |
| Pre-treatment conditions | The atmosphere: ________ Temperature: ________℃ Time: ________h |
| Heating Program | Stop Temperature: ________～________℃ Rate: ________℃/min |
| Sample Safety | □ No poison □ Poison □ Corrosiveness □ Flammable □ Volatile □ Other: ________ |
| Is there an instrument type requirement? | □ Yes, Instrument Type: ________________ □ No |
| Return Remaining Samples? | □ Yes □ No High temperature, reduction, oxidation and adsorption change the sample |

Note:

1. Samples shall be dry and provided with sufficient mass and shall not be melted, sprayed or corrosive at defined temperatures and atmospheres.

2. Need to identify pre-treatment atmosphere, temperature, temperature rate, probe gas and target activity level type; Different program results cannot be directly compared.

3. Samples containing halogens, sulphur, phosphorus, volatile metals or potentially toxic gases must be declared in advance.