Raman Laman Spectroscopy.

| Order number |  |
| --- | --- |
| Organization / Contact | Unit: ________________ Contact Name: ________ Phone: ________________ |
| Sample Quantity and IDs |  |
| Sample Name and Composition |  |
| Sample Condition | □ Powder □ Blocks □ Liquid □ Thin film □ Other: ________ |
| Test Type | □ Temperature □ High temperature □ Temperature □Mapping □ Location / Change the atmosphere |
| Laser wavelength | □325 □405 □455 □488 □514 □532 □633 □785 □1064 nm |
| Location/area | □ Default 3 Organisation □ A specified number: ________ Mapping Regional: ________ |
| Temperature/range | Temperature Point: ________________ Raman Move range: ________________ |
| Watch the summit. | Focus on Peaks / Bibliography: ____________________________________________ |
| Sample Safety | □ No poison □ Poison □ Corrosiveness □ Flammable □ Volatile □ Other: ________ |
| Is there an instrument type requirement? | □ Yes, Instrument Type: ________________ □ No |
| Return Remaining Samples? | □ Yes □ No ※ Laser exposure or high-temperature treatment may cause local damage or variability |

Note:

1. The powder proposal provides more than 10 mg; The block proposal is not less than 1 x 1 mm; Liquids recommend more than 1 mL.

2. Samples that are fluorescent, flammable, carbonized, thermally decomposition or sensitive to lasers must be described in advance and be prioritized for low-power testing.

3. Different laser wavelengths may lead to peaks and fluorescent background differences; If not specified, the laboratory selects according to the sample colour and literature.

4. High-temperature, low-temperature, Mapping and in situ tests need to identify temperature points, regions, steps, atmosphere and time requirements.